COMPANY NAME / LOGO

GAS WELDING UNIT INSPECTION REGISTER

Department: ______________________________

Welding Unit ID No: ____________________

| INSPECTION CRITERIA | Date |  | Date |  | Date |  | Date |  | Date |  | Date |  | Date |  | Date |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Yes | No | Yes | No | Yes | No | Yes | No | Yes | No | Yes | No | Yes | No | Yes | No |
| CYLINDER |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Properly secured |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Valves fitted |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Valves undamaged |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Valves free of oil, grease |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Spindle key on each cylinder |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Valve closed if not in use |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| REGULATORS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Clean, free from oil, grease |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Identifiable i.t.o. gas used |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bullnose stem straight |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Nut and seat undamaged |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Outlet connection undamaged |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Outlet pressure steady |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Pressure adjusting screws turns freely |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| GAUGES |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Undamaged |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Shatterproof lenses fitted |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| No Zero error |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| FLASHBACK ARRESTORS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Are arrestors fitted? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Body and connection nuts undamaged |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Condition good |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| HOSES |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Fitted to SABS specification |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Correct colour used i.t.o. gas used |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Free of oil, grease |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| No surface defects, cuts, cracks, burns |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Connection nuts undamaged |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hose secured with “O” type clips |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Joints made with correct inserts (not copper) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Flashback arrestor at torch end of hoses |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Reverse flow test on check valves |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| TORCHES, NOZZLES, FLAME LIGHTERS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| No visible damage |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| No oil, grease |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Valve close-off easily |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Valve spindle straight |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Knobs intact and well secured |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Nozzle nut in good condition |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Nozzle correct size and type for application |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Friction type lighters used |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| GOGGLES |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Approved type used |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Frame and head band in good condition |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Filter lens shade correct for type of work |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cover lens in good condition |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Every operator has own goggles |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Inspector Name |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Signature |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Responsible Person Name |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Signature |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |