MUSKETEER ENGINEERING

ELECTRICAL EQUIPMENT

| ID No. | Equipment Type |  | Location | Date | Date | Date | Date | Checklist 1. No loose connections 2. Continuous earthing in place 3. Cable free from bad joints 4. No cracked or broken insulation 5. Polarity of extension cables 6. Switches in good order 7. Plug in order 8. Guards in place NOTE: Do not ‘tick’. Write OK or use the applicable code. |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Inspector Name |  |  |  |  |  |  |  |  |
| Inspector Signature |  |  |  |  |  |  |  |  |
| Responsible Person Name |  |  |  |  |  |  |  |  |
| Responsible Person Signature |  |  |  |  |  |  |  |  |
|  |  | ALL DEVIATIONS ARE TO BE RECORDED ON THE DEVIATION LIST. |  |  |  |  |  |  |

ELECTRICAL EQUIPMENT DEVIATION LIST

| Date | Serious deviations noted and action plan to rectify deviation | Action by (Full Name) | Target date | Done Yes / No | Signature of Responsible Person |
| --- | --- | --- | --- | --- | --- |